Bradford Assay with Pierce™ Bradford Protein Assay Kit
Pierce™ Bradford Protein Assay Kit 950 mL | Buy Online | Thermo Scientific™

Standard solutions:

- From the Albumin (BSA) stock solution, the following standard solutions should be prepared for the working range of 100-1500 µg/mL

- From those stock solutions, make a 1:5 dilution (e.g. 10 µL standard stock to 40 µL of dH20) as working solution

Standard 96-well plate protocol:

Work under the fume hood and wear gloves

- Dilute Coomassie Bradford Protein Assay Reagent (stored at 4°C in the fridge) 1:5 with dH20 (e.g. 3 mL Coomassie Bradford Protein Assay Reagent plus 12 mL dH20; 250 µL Coomassie Bradford Protein Assay Reagent dilution needed per sample)

  - Take the amount of Coomassie Bradford Protein Assay Reagent you need, bring to room temperature and then add dH20, gently mix

- Pipette 5 µL of each standard or unknown protein sample into the respective well, then add 250 µL of Coomassie Bradford Protein Assay Reagent dilution to each well

- Mix by gentle pipettting

- Incubate for 10 min at room temperature

- Measure absorbance at 595 nm with the plate reader (2nd floor)

  - Spectrophotometer: Molecular Devices, Spectra max PLUS  needs to be booked via ClusterMarket

  - Select method with shaking before absorbance measurement

- Substract average absorbance at 595 nm for the blanks of all other standards or unknown protein samples

- Calculate standard curve by plotting average blank-corrected 595 nm measurement for each BSA standard vs its concentration in µg/mL; use this to determine the protein concentration of each sample

96-well plate:

|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A | A | B | C | D | E | F | G | H |  |  |  |  |
| B | A | B | C | D | E | F | G | H |  |  |  |  |
| C | A | B | C | D | E | F | G | H |  |  |  |  |
| D |  |  |  |  |  |  |  |  |  |  |  |  |
| E |  |  |  |  |  |  |  |  |  |  |  |  |
| F |  |  |  |  |  |  |  |  |  |  |  |  |
| G |  |  |  |  |  |  |  |  |  |  |  |  |
| H |  |  |  |  |  |  |  |  |  |  |  |  |